## Sheet1
|  |  | selected 120-400Hz for phonostetoscope | Puls: ±5% din valoarea afisataPrecizie Tensiune: ±3 mmHg | all records 30s except first 3 of them - 10 sec |  | 1,013.25 hPa=1 atm = 760mmhg | 1.33322387415 hPa=1 mmcHg
| Date/ sleep score during the night/number of steps (walking) during the entire day. | The hour of deetermination | Thinklab stetoscope | Omron BP monitor | Contec portable ECG | Professional Meteo station | Professional Meteo station | Professional Meteo station | Infrared precision thermometer | Contec PPG | Contec PPG | Samsung watch | Samsung watch |  | N/A | Laser air quality controller | Laser air quality controller | Laser air quality controller | N/A | N/A |  |  |  |  | almost constant
|  | hh:mm | Thinklab | Omron sys/dia/bpm | Contec ECG | env. Temp celsius | OtP humidity | atm. Press. hPa | body temp C | PPG (SpO2 value) | Pulse | Samsung watch (BP pressure: Systolic BP/Diastolic BP/pulse rate + SpO2 value + type of cardiac rhythm) | Samsung watch (stress level) | BMI | Relevant activities before measurement | Air particles: PM1 | Air particles:PM2.5 | Air particles:PM10 | Wheater | Day wake-up hour with or without Noliprel and Aspirin Cardio | sys BP | dia BP | HR | ΔBP=Pp (pulse pressure) | ΔBP * HR
1 | 7:39 h sleep / sleep score 71 (REM 24% light 64 deep 5% awake 7%) | 19:43 | sound wav ~2min | 124/83/88 | ekg pdf ~30sec | 23 | 76% | 1008 | 36,4 | 96% | 88bpm | 116/77/88 SpO2 97% synus rhythm | low stress | [6 empty] | wake up at 6:55 | 124 | 83 | 88
| 19 iul 2021 | [18 empty] | after pills
total 12000 steps
2 |  | 21:24 | sound wav ~2min | 127/81/81 | ekg pdf ~30sec | 20 | 79% | 1008 | 37.2 | 97% | 81 |  | low stress |  | after 1 min smoking | [5 empty] | 127 | 81 | 81
3 |  | 22:45 | sound wav ~2min | 141/92/74 | ekg pdf ~30sec | 19.3 | 82% | 1008 | 36.9 | 97% | 72 |  |  |  | during smoking | [5 empty] | 141 | 92 | 74
4 | 8:16 h sleep / sleep score 66 (REM 20% light 64% deep 6% awake 10%) | 8:20 | sound wav ~2min | 135/82/82 | ekg pdf ~30sec | 18 | 91% | 1007 | 36.5 | 97% | 82 | 113/75/82 SpO2 98% synus rhythm | low stress |  | after cofee & smoking | 1 | 3 | 5 | light rain | wake up at 6:50 | 135 | 82 | 82
| 20 iul 2021 | [18 empty] | after pills
total 6850 steps
5 |  | 10:15 | sound wav ~2min | 120/76/85 | ekg pdf ~30sec | 18.2 | 90% | 1007 | 36.5 | 98% | 85 | 114/75/86 SpO2 99% synus rhythm | light headache |  | after breakfast | 3 | 4 | 6 | light rain |  | 120 | 76 | 85
after 2200 steps
6 |  | 11:10 | sound wav ~2min | 123/72/85 | ekg pdf ~30sec | 18.4 | 90% | 1007 | 36.6 | 98% | 87 | 113/75/91 SpO2 97% synus rhythm | light headache |  | after cofee & smoking | 2 | 5 | 7 | light rain |  | 123 | 72 | 85
plus 450 steps
7 |  | 13:25 | wave loud | 116/70/92 | ekg pdf ~30sec | 20.6 | 85% | 1007 | 36.4 | 97% | 94 | 113/75/92 SpO2 97% synus rhythm | medium stress |  | after office activities | 1 | 2 | 2 | sunny |  | 116 | 70 | 92
plus 200 steps
8 |  | 15:25 | wave loud | 122/77/95 | ekg pdf ~30sec | 19.1 | 84% | 1007 | 36.7 | 98% | 95 | 114/76/96 SpO2 97% synus rhythm | medium stress |  | after lunch & office activities | 0 | 0 | 0 | rain |  | 122 | 77 | 95
plus 1200 steps
9 |  | 18:00 | sound wav ~2min | 121/81/98 | ekg pdf ~30sec | 18.7 | 89% | 1008 | 36.5 | 98% | 96 | 119/80/97 SpO2 96% synus rhythm | high stress |  | office activities | 0 | 1 | 2 | cloudy |  | 121 | 81 | 98
10 |  | 20:10 | sound wav ~2min | 130/79/89 | ekg pdf ~30sec | 18.3 | 89% | 1009 | 36.9 | 96% | 90 | 114/76/90 SpO2 96% synus rhythm | low stress |  | after 5 min smoking | 1 | 2 | 2 | rain |  | 130 | 79 | 89
plus 2700 steps
11 |  | 21:50 | sound wav ~2min | 120/80/82 | ekg pdf ~30sec | 17.3 | 90% | 1010 | 36.6 | 98% | 82 | 114/75/86 SpO2 94% synus rhythm | low stress |  | after 5 min smoking | 1 | 2 | 3 | rain |  | 120 | 80 | 82
plus 100 steps
12 |  | 22:08 | sound wav ~2min | 124/86/87 | ekg pdf ~30sec | 17.2 | 90% | 1010 | 36.6 | 97% | 87 | 113/75/82 SpO2 97% synus rhythm | low stress |  | after 1 min smoking | 1 | 3 | 3 | rain |  | 124 | 86 | 87
13 | 8:05 h sleep / sleep score 54 (REM 28% light 57% deep 5% awake 10%) | 8:12 | sound wav ~2min | 137/88/90 | ekg pdf ~30sec | 15.7 | 91% | 1011 | 36.9 | 99% | 89 | 113/74/86 SpO2 98% synus rhythm | low stress |  | after 5 min smoking | 6 | 11 | 15 | rain | wake up at 7:00 | 137 | 88 | 90
| 21 iul 2021 | [18 empty] | no pills today
total 9800 steps
14 |  | 8:30 | sound wav ~2min | 133/90/83 | ekg pdf ~30sec | 15.9 | 92% | 1011 | 36.6 | 99% | 89 | 114/75/86 SpO2 97% synus rhythm | low stress |  | after 5 min smoking | 5 | 8 | 10 | cloudy |  | 133 | 90 | 83
15 |  | 14:03 | sound wav ~2min | 119/79/92 | ekg pdf ~30sec | 19.3 | 74% | 1012 | 36.3 | 97% | 92 | 117/78/94 SpO2 95% synus rhythm | medium stress |  | after lunch & office activities | 30 | 42 | 54 | cloudy |  | 119 | 79 | 92
plus 5500 steps
16 | recalibration of the wacth 3 / 3 measurements | 20:30 | sound wav ~2min | 141/91/89 | ekg pdf ~30sec | 15.1 | 90% | 1014 | 36.4 | 97% | 91 | 126/80/92 SpO2 97% synus rhythm | low stress |  | after 5 min smoking | 2 | 5 | 7 | cloudy |  | 141 | 91 | 89
plus 4300 steps
17 | 9:22 h sleep / sleep score 68 (REM 22% light 66% deep 4% awake 8%) | 8:55 | sound wav ~2min | 123/83/93 | ekg pdf ~30sec | 15.5 | 94% | 1015 | 36.7 | 96% | 97 | 126/80/97 SpO2 96% synus rhythm | medium stress |  | after 5 min smoking & coffee | 4 | 6 | 9 | sunny | wake up at 7:30 | 123 | 83 | 93
| 22 iul 2021 | [18 empty] | no pills today
total 11800 steps
18 |  | 15:41 | sound wav ~2min | 128/80/103 | ekg pdf ~30sec | 20.3 | 70% | 1015 | 36.5 | 96% | 101 | 128/84/103 SpO2 95% synus rhythm | high stress |  | after lunch & office activities | 5 | 8 | 11 | sunny |  | 128 | 80 | 103
plus 7000 steps
19 |  | 16:24 | sound wav ~2min | 148/90/96 | ekg pdf ~30sec | 19.4 | 73% | 1015 | 36.3 | 95% | 103 | 131/85/97 SpO2 95% synus rhythm | medium stress |  | after 1 min smoking | 3 | 5 | 7 | sunny |  | 148 | 90 | 96
plus 100 steps
20 |  | 17:02 | sound wav ~2min | 146/90/101 | ekg pdf ~30sec | 21 | 67% | 1015 | 36.4 | 97% | 97 | 130/85/96 SpO2 95% synus rhythm | medium stress |  | after 5 min smoking & 1 beer | 4 | 6 | 8 | sunny |  | 146 | 90 | 101
21 |  | 17:33 | sound wav ~2min | 143/89/92 | ekg pdf ~30sec | 21.2 | 62% | 1014 | 36.2 | 97% | 99 | 128/84/95 SpO2 93% synus rhythm | medium stress |  | after 5 min smoking & 1 beer | 4 | 6 | 8 | sunny |  | 143 | 89 | 92
22 |  | 17:50 | sound wav ~2min | 145/88/93 | ekg pdf ~30sec | 21 | 65% | 1014 | 36.4 | 96% | 95 | 128/84/103 SpO2 97% synus rhythm | low stress |  | after 5 min smoking & 1 beer | 4 | 6 | 8 | sunny |  | 145 | 88 | 93
plus 400 steps
23 |  | 18:30 | sound wav ~2min | 136/87/92 | ekg pdf ~30sec | 19.9 | 73% | 1014 | 36.3 | 96% | 97 | 127/82/100 SpO2 96% synus rhythm | low stress |  | after dinner | 4 | 7 | 10 | sunny |  | 136 | 87 | 92
24 |  | 21:07 | sound wav ~2min | 133/84/86 | ekg pdf ~30sec | 16.6 | 79% | 1014 | 36.7 | 96% | 88 | 126/80/88 SpO2 96% synus rhythm | low stress |  | after 5 min smoking & 1 beer | 6 | 9 | 12 | clear |  | 133 | 84 | 86
plus 3300 steps
25 | 7:55 h sleep / sleep score 79 (REM 22% light 61% deep 7% awake 10%) | 8:20 | sound wav ~2min | 136/87/96 | ekg pdf ~30sec | 14.5 | 89% | 1014 | 36.5 | 98% | 96 | 130/84/103 SpO2 96% synus rhythm | low stress |  | after 5 min smoking & coffee | 4 | 7 | 8 | sunny | wake up at 7:20 | 136 | 87 | 96
| 23 iul 2021 | [18 empty] | before pills
total 8800 steps
26 |  | 13:45 | sound wav ~2min | 133/81/102 | ekg pdf ~30sec | 22.3 | 62% | 1013 | 36.2 | 96% | 101 | 132/87/98 SpO2 97% synus rhythm | medium stress |  | after brunch | 5 | 8 | 9 | sunny |  | 133 | 81 | 102
| plus 4000 steps | [18 empty] | after pills
27 | 7:52 h sleep / sleep score 75 (REM 24% light 55% deep 12% awake 9%) | 9:50 | sound wav ~2min | 126/79/90 | ekg pdf ~30sec | 18.5 | 80% | 1013 | 36.6 | 96% | 88 | 128/82/92 SpO2 97% synus rhythm | low stress |  | after 10 min smoking & coffee | 4 | 7 | 9 | sunny | wake up at 7:50 | 126 | 79 | 90
| 24 iul 2021 | [18 empty] | after pills
total 9500 steps
28 |  | 10:47 | sound wav ~2min | 113/74/96 | ekg pdf ~30sec | 21 | 70% | 1013 | 36.5 | 97% | 98 | 126/81/89 SpO2 98% synus rhythm | low stress |  | after 5 min smoking & 1 beer | 5 | 8 | 9 | sunny |  | 113 | 74 | 96
plus 2000 steps
29 |  | 12:46 | sound wav ~2min | 131/83/83 | ekg pdf ~30sec | 20.7 | 68% | 1014 | 36.3 | 96% | 84 | 131/86/96 SpO2 97% synus rhythm | low stress |  | after 5 min smoking & 1 beer | 5 | 8 | 10 | cloudy |  | 131 | 83 | 83
plus 1000 steps
30 |  | 15:08 | sound wav ~2min | 129/82/92 | ekg pdf ~30sec | 22.6 | 59% | 1013 | 36.3 | 97% | 92 | 121/79/93 SpO2 96% synus rhythm | low stress |  | after 5 min smoking & 1 beer | 4 | 7 | 8 | sunny |  | 129 | 82 | 92
plus 1000 steps
31 |  | 16:17 | sound wav ~2min | 123/76/85 | ekg pdf ~30sec | 23.6 | 51% | 1013 | 36.5 | 95% | 90 | 126/82/87 SpO2 94% synus rhythm | low stress |  | after lunch & office activities | 4 | 7 | 10 | sunny |  | 123 | 76 | 85
plus 1000 steps
32 |  | 16:35 | sound wav ~2min | 124/79/90 | ekg pdf ~30sec | 23.3 | 52% | 1013 | 36 | 96% | 93 | 133/88/96 SpO2 96% synus rhythm | low stress |  | after 10 min smoking | 4 | 7 | 8 | sunny |  | 124 | 79 | 90
plus 200 steps
33 |  | 17:19 | sound wav ~2min | 120/77/92 | ekg pdf ~30sec | 23.1 | 52% | 1013 | 36.3 | 96% | 94 | 124/80/101 SpO2 97% synus rhythm | medium stress |  | after 5 min smoking & 1 beer | 5 | 8 | 10 | sunny |  | 120 | 77 | 92
34 |  | 21:45 | sound wav ~2min | 129/85/82 | ekg pdf ~30sec | 17.3 | 73% | 1013 | 36.5 | 98% | 85 | 126/80/85 SpO2 96% synus rhythm | low stress |  | after 5 min smoking & 1 beer | 5 | 9 | 10 | clear |  | 129 | 85 | 82
plus 4300 steps
35 | 8:32 h sleep / sleep score 78 (REM 32% light 50% deep 12% awake 6%) | 8:57 | sound wav ~2min | 138/86/86 | ekg pdf ~30sec | 15.6 | 83% | 1014 | 36.4 | 97% | 83 | 123/80/99 SpO2 95% synus rhythm | low stress |  | after 5 min smoking & coffee | 15 | 19 | 35 | sunny | wake up at 7:30 | 138 | 86 | 86
| 25 iul 2021 | [18 empty] | after pills
total 9500 steps
36 |  | 17:22 | sound wav ~2min | 122/78/94 | ekg pdf ~30sec | 26.4 | 49% | 1014 | 36 | 94% | 96 | 126/80/86 SpO2 97% synus rhythm | medium stress |  | after lunch & office activities | 8 | 12 | 14 | sunny |  | 122 | 78 | 94
plus 5000 steps
37 |  | 19:43 | sound wav ~2min | 119/82/96 | ekg pdf ~30sec | 22.6 | 65% | 1013 | 36.5 | 97% | 95 | 132/86/96 SpO2 96% synus rhythm | low stress |  | after 10 min smoking | 8 | 13 | 19 | sunny |  | 119 | 82 | 96
plus 6000 steps
38 |  | 20:20 | sound wav ~2min | 122/80/92 | ekg pdf ~30sec | 21.5 | 65% | 1014 | 36.3 | 96% | 93 | 126/82/93 SpO2 97% | low stress |  | 30 min no smoking | 11 | 14 | 21 | clear |  | 122 | 80 | 92
39 |  | 20:52 | sound wav ~2min | 121/78/93 | ekg pdf ~30sec | 20.8 | 65% | 1014 | 36.5 | 97% | 93 | 129/84/93 SpO2 97% synus rhythm | low stress |  | after 10 min smoking | 11 | 15 | 17 | clear |  | 121 | 78 | 93
40 |  | 21:25 | sound wav ~2min | 135/83/91 | ekg pdf ~30sec | 20 | 65% | 1014 | 36.5 | 95% | 91 | 137/88/90 SpO2 95% synus rhythm | low stress |  | during smoking | 22 | 30 | 30 | clear |  | 135 | 83 | 91
41 |  | 22:22 | sound wav ~2min | 137/85/83 | ekg pdf ~30sec | 19.5 | 65% | 1014 | 36.4 | 95% | 82 | 127/83/83 SpO2 98% synus rhythm | low stress |  | after 5 min smoking & 1 beer | 13 | 18 | 26 | clear |  | 137 | 85 | 83
42 | 8:11 h sleep / sleep score 61 (REM 22% light 68% deep 3% awake 7%) | 8:21 | sound wav ~2min | 143/94/94 | ekg pdf ~30sec | 16.7 | 84% | 1014 | 36.9 | 96% | 97 | 133/87/96 SpO2 97% synus rhythm | low stress |  | after 5 min smoking & coffee | 10 | 15 | 18 | cloudy | wake up at 7:20 | 143 | 94 | 94
| 26 iul 2021 | [18 empty] | after pills
total 9500 steps
43 |  | 9:22 | sound wav ~2min | 131/86/90 | ekg pdf ~30sec | 18.9 | 80% | 1015 | 36.4 | 95% | 91 | 127/81/91 SpO2 97% synus rhythm | low stress |  | after 5 min smoking | 10 | 14 | 15 | sunny |  | 131 | 86 | 90
plus 1000 steps
44 |  | 9:53 | sound wav ~2min | 124/80/85 | ekg pdf ~30sec | 20.6 | 75% | 1015 | 36.4 | 97% | 95 | 130/84/95 SpO2 97% synus rhythm | low stress |  | after breakfast | 9 | 13 | 16 | sunny |  | 124 | 80 | 85
45 | SpO2 switched | 12:28 | sound wav ~2min | 135/85/92 | ekg pdf ~30sec | 25.5 | 54% | 1016 | 35.8 | 94% | 93 | 125/81/91 SpO2 97% synus rhythm | low stress |  | after 5 min smoking | 7 | 11 | 12 | sunny |  | 135 | 85 | 92
1h sleeping
46 |  | 12:49 | sound wav ~2min | 124/81/90 | ekg pdf ~30sec | 25.8 | 54% | 1016 | 35.7 | 96% | 87 | 122/78/87 SpO2 94% synus rhythm | low stress |  | after 10 min smoking | 55 | 72 | 84 | sunny |  | 124 | 81 | 90
47 |  | 13:05 | sound wav ~2min | 134/83/87 | ekg pdf ~30sec | 26.2 | 53% | 1015 | 35.1 | 98% | 88 | 125/81/88 SpO2 97% synus rhythm | low stress |  | after 10 min smoking | 8 | 11 | 13 | sunny |  | 134 | 83 | 87
48 |  | 13:49 | sound wav ~2min | 132/84/92 | ekg pdf ~30sec | 27.2 | 51% | 1015 | 35 | 97% | 94 | 128/84/95 SpO2 97% synus rhythm | low stress |  | after 5 min smoking | 9 | 12 | 16 | sunny |  | 132 | 84 | 92
plus 500 steps
49 |  | 14:05 | sound wav ~2min | 129/83/87 | ekg pdf ~30sec | 27.4 | 50% | 1016 | 35 | 97% | 89 | 124/80/88 SpO2 96% synus rhythm | low stress |  | after 5 min smoking | 11 | 16 | 21 | sunny |  | 129 | 83 | 87
50 |  | 15:56 | sound wav ~2min | 123/82/100 | ekg pdf ~30sec | 27.6 | 50% | 1015 | 36.1 | 96% | 101 | 126/83/102 SpO2 94% synus rhythm | low stress |  | after lunch & office activities | 9 | 13 | 15 | sunny |  | 123 | 82 | 100
plus 1500 steps
51 |  | 17:57 | sound wav ~2min | 138/85/100 | ekg pdf ~30sec | 25.9 | 61% | 1015 | 36.3 | 96% | 100 | 129/85/101 SpO2 89% synus rhythm | medium stress |  | after 5 min smoking | 8 | 12 | 12 | sunny |  | 138 | 85 | 100
plus 500 steps
52 |  | 21:10 | sound wav ~2min | 132/84/84 | ekg pdf ~30sec | 21.5 | 74% | 1015 | 36.8 | 96% | 84 | 127/83/86 SpO2 98% synus rhythm | low stress |  | after 10 min smoking | 10 | 14 | 17 | clear |  | 132 | 84 | 84
plus 3500 steps
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67